DOI:

基于分布式多智能体强化学习的多能互补潮流控制模型

郑晓东

（西安交通大学电气工程学院  西安710049）

摘要 近年来，随着新能源装机在电力系统中的装机日益增加。

关键词：多风机风速预测卷积神经网络简单循环单元改进循环神经网络时空相关性

中图分类号：TM614

Wind Speed Forecasts of Multiple Wind Turbines in a Wind Farm Based on Integration Model Built by Convolutional Neural Network and Simple Recurrent Unit

XXXX

（School of Electrical Engineering  Xi’an Jiaotong University  Xi’an  710049  China）

国家自然科学基金（51777162）和中央高校基本科研业务费专项资金（xzy012019022）资助项目。

收稿日期2019-12-08  改稿日期 2020-02-24

Abstract .

keywords：Wind speed forecast of multiple wind turbines, convolutional neural network, simple recurrent unit, improved recurrent neural network, spatio-temporal correlation

0引言

- 近年来，由于如光伏、水电、风电等新能源的大量投入，电力网络潮流波动情况愈加严重。光伏发电与风力发电作为新型清洁能源，具有不确定性强、无法精准预测出力等特性，多发电量无法直接应用于电网调度调节。然而，对于区域网架而言，能源调度关乎电力系统稳定性，新能源发电机组即便拥有较强发电能力，但由于其稳定性较差，往往需要根据发电计划使用火电发电机组进行备用调节，即针对发电计划高于实际新能源发电时段，使用热备用火电机组予以补齐，对于发电计划低于实际新能源发电时段，进行弃水弃光操作，造成可利用能源资源在一定程度上的浪费。

- 水力-光伏-抽蓄混合调度是近年来一个火热的话题。对于电力调度而言，水力发电具有响应速度快，调节能力强等优点，在实际的调度作业中可以作为平衡节点对电力网络进行调节。相比之下，光伏发电稳定性则较差。光伏发电受到局部天气、地理地形、气候季节等因素影响极大，难以稳定进行准确的发电预测和出力。

1问题描述

2相关性建模

2.2  卷积神经网络具体设计

4  空间相关性和时间相关性的深度集成预测模型

4.1数据处理

5仿真算例

5.1仿真设置

图11144台风机在某一时刻的预测输出误差热力图（预测时域h=1，即预测未来5min的多风机风速）
Fig.11  Loss thermodynamic graph of the forecasted output of 144 wind turbines at a certain time(forecasthorizonh = 1, that is to forecast the wind speed of multiple wind turbines in the next 5 minutes)

图12编号1风机的风速预测结果
（预测时域h=1，即预测未来5min的多风机风速）Fig.12  Forecasted output of site ID 1 wind turbine
(forecasthorizonh = 1, that is to forecast the wind speed of multiple wind turbines in the next 5 minutes)

图13编号20风机的风速预测结果
（预测时域h=1，即预测未来5min的多风机风速）
Fig.13  Forecasted output of site ID 20 wind turbine(forecasthorizonh = 1, that is to forecast the wind speed of multiple wind turbines in the next 5 minutes)

图14编号40风机的风速预测结果
（预测时域h=1，即预测未来5min的多风机风速）
Fig.14  Forecasted output of site ID 40 wind turbine
(forecasthorizonh = 1, that is to forecast the wind speed of multiple wind turbines in the next 5 minutes)

针对工程中风速预测中常见的多步时域预测问题，本文也给出了多个预测时域的预测结果，预测时域h分别为1、2、5和10，即预测当前时刻后未来5min、10min、25min和50min的多风机风速。集成预测模型参数训练耗时和风电场中每台风机精

图15编号60风机的风速预测结果
（预测时域h=1，即预测未来5min的多风机风速）
Fig.15  Forecasted output of site ID 60 wind turbine
(forecasthorizonh = 1, that is to forecast the wind speed of multiple wind turbines in the next 5 minutes)

图16编号80风机的风速预测结果
（预测时域h=1，即预测未来5min的多风机风速）
Fig.16  Forecasted output of site ID 80 wind turbine
(forecasthorizonh = 1, that is to forecast the wind speed of multiple wind turbines in the next 5 minutes)

细化风速预测误差的仿真结果见表1。

表1预测性能与预测时域关系
Tab.1  Relationship between forecast performance and forecast horizon

| 预测时域h | 训练耗时/s | RMSE/(m/s) | ME/(m/s) |
| --- | --- | --- | --- |
| 1 | 1987.3 | 0.661 | -0.026 |
| 2 | 1998.7 | 0.920 | 0.157 |
| 5 | 2002.6 | 1.583 | 0.440 |
| 10 | 2004.5 | 1.816 | 0.506 |

由表1可以看出，随着预测时域的增加，RMSE逐渐增大，预测效果逐渐变差。预测时域增加的同时，输入到CNN和SRU集成预测模型的特征将越来越偏离预测时刻的特征，所以取得的预测效果也相对比较差。但在预测时域h＜10的情况下对风电场中所有风机进行精细化本地风速预测仍能取得相对比较好的预测效果。若在工程中需要取预测时域h＞10时，即预测50min后的风速，可以考虑增大Epoch来提高预测的准确率。

5.3对比分析

表2给出使用CNN和SRU集成预测模型，但使用不同的数据特征在多个预测时域的仿真结果。

表2风向特征对预测性能的提升表
Tab.2  Improvement table of wind direction characteristic for forecast performance

| 预测时域h | 特征 | 训练耗时/s | RMSE/(m/s) | ME/(m/s) |
| --- | --- | --- | --- | --- |
| 1 | 风速和风向 | 1987.3 | 0.661 | -0.026 |
|  | 风速 | 1958.6 | 0.713 | -0.079 |
| 2 | 风速和风向 | 1998.7 | 0.920 | 0.157 |
|  | 风速 | 1960.7 | 0.963 | 0.182 |
| 5 | 风速和风向 | 2002.6 | 1.583 | 0.440 |
|  | 风速 | 1963.5 | 1.636 | 0.558 |
| 10 | 风速和风向 | 2004.5 | 1.816 | 0.506 |
|  | 风速 | 1967.2 | 2.072 | 0.681 |

由表2可知，较仅使用风速作为特征，使用风速和风向作为特征来预测风速可取得更好的预测效果。因为在一个风电场中，众多风机分布在不同的地理位置下，不仅风速具有时空相关性，风向也同样具有时空相关性，而且多风机风速序列的空间相关性主要受风向影响。通过同时考虑风速和风向的时空相关性，可以获得更加丰富和有效的信息，更有利于进行风速预测。

为了说明本文所提方法的优越性，给出了多个不同预测方法的对比仿真。由之前仿真的对比分析可知，使用风速和风向作为特征取得的预测效果更佳，所以在下文的对比分析中，均采用风速和风向为特征。对比的预测方法包括：CNN和SRU集成预测模型、CNN和LSTM集成预测模型、CNN和GRU集成预测模型、CNN及简单人工神经网络（Artificial Neural Network, ANN）。在预测时域为1时，图17~图21分别给出不同预测模型的训练误差、网络中某一参数及其梯度随训练次数的变化。表3给出了不同预测模型在训练过程中网络某一参数梯度绝对值的平均值。由图中可知，在训练过程中，较其他两种集成预测模型，CNN和SRU集

表3不同预测模型梯度绝对值的平均值
Tab.3  Average value of the absolute gradient in different forecast models

| 模型 | 整个训练过程中梯度绝对值的平均值 |
| --- | --- |
| CNN+SRU | 0.0015 |
| CNN+LSTM | 0.0018 |
| CNN+GRU | 0.0003 |

图17预测误差随训练次数变化对比
Fig.17  Comparison graph of forecasted loss with the training times

图18网络中某一参数随训练次数变化对比
Fig.18  Comparison graph of a parameter in the network varies with the training times

图19CNN和SRU集成预测模型中梯度变化
Fig.19  Gradient variation graph in the integrated forecast model of CNN and SRU

图20 CNN和LSTM集成预测模型中梯度变化
Fig.20  Gradient variation graph in the integrated forecast model of CNN and LSTM

图21CNN和GRU集成预测模型中梯度变化
Fig.21  Gradient variation graph in the integrated forecast model of CNN and GRU

成预测模型的RMSE下降最快。LSTM和GRU分别在训练的前期和后期存在一定的梯度消失问题，但SRU整个训练过程中一直存在较大的梯度。故在神经网络参数迭代过程中，SRU可以有效地缓解梯度消失问题，其参数收敛得更快，预测效果更好。为了说明在不同预测时域的预测结果，给出了h=1、h=2、h=5、h=10的预测时域，相关仿真数据见表4。

表4不同预测模型仿真结果对比表
Tab.4  Comparison table of simulation results of different forecast models

| 预测时域h | 模型 | 训练耗时/s | RMSE/(m/s) | ME/(m/s) |
| --- | --- | --- | --- | --- |
| 1 | CNN+SRU | 1987.3 | 0.661 | -0.026 |
|  | CNN+LSTM | 3131.4 | 0.786 | -0.057 |
|  | CNN+GRU | 4134.6 | 0.763 | -0.060 |
|  | CNN | 680.8 | 0.883 | -0.064 |
|  | ANN | 490.1 | 0.974 | 0.193 |
| 2 | CNN+SRU | 1998.7 | 0.920 | 0.157 |
|  | CNN+LSTM | 3169.1 | 0.961 | 0.091 |
|  | CNN+GRU | 4140.1 | 0.954 | 0.252 |
|  | CNN | 679.1 | 1.041 | 0.445 |
|  | ANN | 488.6 | 1.305 | 0.525 |
| 5 | CNN+SRU | 2002.6 | 1.583 | 0.440 |
|  | CNN+LSTM | 3034.7 | 1.606 | 0.571 |
|  | CNN+GRU | 4145.1 | 1.597 | 0.581 |
|  | CNN | 669.3 | 1.923 | 0.977 |
|  | ANN | 487.8 | 2.103 | 1.169 |
| 10 | CNN+SRU | 2004.5 | 1.816 | 0.506 |
|  | CNN+LSTM | 3030.3 | 1.928 | 0.596 |
|  | CNN+GRU | 4151.7 | 1.918 | 0.415 |
|  | CNN | 675.5 | 2.011 | 1.080 |
|  | ANN | 462.7 | 2.123 | 1.464 |

由表4可以看出：相较于LSTM和GRU，由于SRU消除了输出状态ht与ht-1的依赖性，具有并行处理的能力，SRU各层的参数能得到较快的训练，极大地降低了计算代价，所以仿真时间耗时最短。CNN预测模型仅考虑多风机之间的空间相关性，并没有考虑到时间相关性，所以CNN预测模型效果没有时空集成预测模型佳。由于ANN不能处理多维数据，其输出只能是一维向量形式，当将CNN和SRU集成预测模型输入维度12×12×3映射至ANN输入维度1×432的同时，也相应地损失了数据的时空相关性。相反，CNN和SRU集成预测模型正是着眼于如何高效地提取风机数据时空特征，故CNN和SRU集成预测模型更优。

5.4  鲁棒性分析

在实际的工程应用中，会存在由于测量精度等原因造成的输入信息存在少许微小偏差的情况，故对CNN和SRU集成预测模型进行鲁棒性分析是有必要的。

将整个风机数据集的风速和风向累加以、正太分布的随机误差，用来模拟存在少许微小偏差的输入数据信息。CNN和SRU集成模型的参数训练及预测输出均使用含有正太分布随机误差的噪声值进行训练，而测试集的RMSE和ME计算使用预测值和测量值计算，而不采用含有随机误差的噪声值。在使用风速和风向作为特征，预测时域h为1的条件下，表5给出了在多个不同预测时域下，分布使用测量值和噪声值的风速预测仿真结果。图22给出了1号风机的风速预测值、含有随机误差的噪声值和测量值曲线。由图22可以看出，在输入风速和风向信息存在少许微小偏差的情况下，预测精度确实会变差，但是仍具有一定的参考价值。由于该时空集成预测模型会综合考量风电场内所有风机数据的空间相关性和时间相关性，若单

表5数据扰动对预测性能的影响
Tab.5  The effect of data noise on forecast performance

| 预测时域h | 数据类型 | 训练耗时/s | RMSE/(m/s) | ME/(m/s) |
| --- | --- | --- | --- | --- |
| 1 | 测量值 | 1987.3 | 0.661 | -0.026 |
|  | 噪声值 | 1969.9 | 0.722 | -0.108 |
| 2 | 测量值 | 1998.7 | 0.920 | 0.157 |
|  | 噪声值 | 1982.8 | 0.957 | 0.114 |
| 5 | 测量值 | 2002.6 | 1.583 | 0.440 |
|  | 噪声值 | 1996.7 | 1.643 | 0.778 |
| 10 | 测量值 | 2004.5 | 1.816 | 0.506 |
|  | 噪声值 | 2011.8 | 1.988 | 0.764 |

图22  1号风机基于含有随机误差噪声值的风速预测结果
Fig.22  Forecasted output of site ID 1 wind turbine based on noise values containing randomerror

台风机数据含有较大的误差值，但周围风机组没有误差值，或是误差值较小，考虑到风机数据在时空方面不能突变的特性，该时空集成预测模型可以较好地抑制单台风机的大扰动，仍然可以取得较佳的风速预测效果。

6结论

针对在同一风电场中不同地理位置分布的多风机风速预测问题，本文提出了一种基于CNN和SRU集成预测模型的预测方法。该方法通过CNN提取多风机风速间空间特征和风向间空间特征，SRU提取多风机二维风速序列时间特征和二维风向序列时间特征，充分有效地利用风速和风向的内在关联性，进而提高了预测精度。本方法通过实际的风电场数据仿真分析，证明了该方法的有效性。通过仿真对比分析，可以得出以下结论：

1）与LSTM和GRU相比，SRU具有并行计算的能力，进而显著地减小了计算成本。在整个训练过程中，SRU一直保持着较大的梯度，可以有效地解决随着网络层次的增加带来的梯度消失问题。因此SRU非常适用于处理具有十分丰富数据的深层深度学习问题。多个风速预测问题同样属于具有丰富数据的深层深度学习问题，故SRU非常适合应用于多风机风速预测。

2）CNN和SRU集成预测模型的输入仅是历史风特征（包括风速和风向），较只能针对特定环境和需要众多参数的物理建模预测模型，具有较好的适应性和鲁棒性。

3）通过学习风速和风向的时空相关性，首先提取空间特征，然后将蕴含空间特征的数据输入到多个SRU中提取时间特征，CNN和SRU的集成预测模型可以提取到十分丰富和有效的预测信息。相较于传统的深度学习方法，它最大限度地学习到类似于RGB图像结构输入数据的高维特征。

本文采用的集成预测模型在风电场内多风机风速预测方面取得较好效果。但输入预测模型中的历史特征序列长度等超参数如何进行科学优化、如何有效地对异常风机数据进行辨识等有待下一步的探索。

参考文献

[1]	World Wind Energy Association. Wind power capacity worldwide reaches 597 GW, 50.1 GW added in 2018 [EB/OL]. [2019-07-04]. http://wwindea.org/blog/2019/02/25/wind-power-capacity-worldwide-reaches-600-gw-539-gw-added-in-2018.

[2]	林旻威,温步瀛.大规模风电接入对电力系统暂态稳定性影响研究综述[J].电气技术,2017,20(4):1-8, 38.
Lin Menwei, Wen Buying. The overview of influence of large scale wind generation on transient stability of power system[J]. Electrical Engineering, 2017, 20(4): 1-8, 38.

[3]	唐程辉,张凡,张宁,等.基于风电场总功率条件分布的电力系统经济调度二次规划方法[J].电工技术学报, 2019,34(10):2069-2078.
Tang Chenghui, Zhang Fan, Zhang Ning, et al. Quadratic programming for power system economic dispatch based on the conditional probability distribution of wind farms sum power[J]. Transactions of China Electrotechnical Society, 2019, 34(10): 2069-2078.

[4]	穆钢,蔡婷婷,严干贵,等.双馈风电机组参与持续调频的双向功率约束及其影响[J]. 电工技术学报, 2019, 34(8): 1750-1759.
Mu Gang, Cai Tingting, Yan Gangui, et al. Bidirectional power constraints and influence of doubly fed induction generator participating incontinuous frequency regulation[J]. Transactions of China Electrotechnical Society, 2019, 34(8): 1750-175.

[5]	关中杰,鲁效平,李钢强,等.基于风速模型的风电机组动态转矩前馈控制技术[J].电工技术学报,2018,33(22):5338-5345.
Guan Zhongjie, Lu Xiaoping, Li Gangqiang, et al. Dynamic torque feed forward control technology of wind turbine based on wind speed model[J]. Transactions of China Electrotechnical Society, 2018, 33(22): 5338-5345.

[6]	李军,杜雪.稀疏高斯过程在短期风电功率概率预测中的应用[J].电机与控制学报,2019,23(8): 67-77.
Li Jun, Du Xue. Application of sparse gaussian process in short-term wind power probability prediction[J]. Electric Machines and Control, 2019, 23(8): 67-77.

[7]	Kou Peng, Liang Deliang, Yu Linbo, et al. Nonlinear model predictive control of wind farm for system frequency support[J]. IEEE Transactions on Power Systems, 2019, 34(5): 3547-3561.

[8]	沈小军,付雪姣,周冲成,等.风电机组风速-功率异常运行数据特征及清洗方法[J]. 电工技术学报,2018,33(14):3353-3361.
Shen Xiaojun, Fu Xuejiao, Zhou Chongcheng, et al. Characteristics of outliers in wind speed-power operation data of wind turbines and its cleaning method[J]. Transactions of China Electrotechnical Society, 2018, 33(14): 3353-3361.

[9]	杨正瓴,刘阳,张泽,等.采用最近历史观测值和PLSR进行空间相关性超短期风速预测[J].电网技术,2017, 41(6): 1816-1823.
Yang Zhengling, Liu Yang, Zhang Ze, et al. Ultra-short-term wind speed prediction with spatial correlation using recent historical observations and PLSR[J]. Power System Technology, 2017, 41(6): 1816-1823.

[10]	殷豪,董朕,陈云龙.基于CEEMD 和膜计算优化支持向量机的风速预测[J].电力系统保护与控制,2017,45(21):27-34.
Yin Hao, Dong Zhen, Chen Yunlong. Wind speed forecasting based on complementary ensemble empirical mode decomposition and support vector regression optimized by membrane computing optimization[J]. Power System Protection and Control, 2017, 45(21): 27-34.

[11]	叶瑞丽,郭志忠,刘瑞叶,等.基于小波包分解和改进Elman神经网络的风电场风速和风电功率预测[J]. 电工技术学报,2017,32(21):103-111.
Ye Ruili, Guo Zhizhong, Liu Ruiye, et al. Wind speed and wind power forecasting method based on wavelet packet decomposition and improved Elman neural network[J]. Transactions of China Electrotechnical Society, 2017, 32(21): 103-111．

[12]	林洁,吴布托,陈伟.基于深层玻尔兹曼机的风电场异常风速值自适应检测预处理方法[J]. 电工技术学报,2018,33(增刊1): 205-212.
Lin Jie, Wu Butuo, Chen Wei. Adaptive detection and preprocessing method for abnormal wind speed of wind farm based on deep Boltzmann machine[J]. Transactions of China Electrotechnical Society, 2018, 33(S1): 205-212．

[13]	Wang Huaizhi, Li Gangqiang, Wang Guibing, et al. Deep learning based ensemble approach for probabilistic wind power forecasting[J]. Applied Energy, 2017, 188(188): 56-70.

[14]	鲁迪,王星华,贺小平.基于混合粒子群算法和多分位鲁棒极限学习机的短期风速预测方法[J]. 电力系统保护与控制,2019, 47(5):115-122.
Lu Di, Wang Xinghua, He Xiaoping. Hybrid population particle algorithm and multi-quantile robust extreme learning machine based short-term wind speed forecasting[J]. Power System Protection and Control, 2019, 47(5): 115-122.

[15]	朱霄珣,徐搏超,焦宏超,等.遗传算法对SVR风速预测模型的多参数优化[J]. 电机与控制学报,2017,21(2): 70-75.
Zhu Xiaoxun, Xu Bochao, Jiao Hongchao, et al. Windspeed prediction method based on SVR and multi-parameter optimization of GA[J]. Electric Machines and Control, 2017, 21(2): 70-75.

[16]	杨正瓴,吴炳卫,赵强,等.我国冬季风路径上风速与其影响因子的优化延迟相关性分析[J].电力系统保护与控制,2018,46(19):57-64.
Yang Zhengling, Wu Bingwei, Zhao Qiang, et al. Analysis of the optimal lag time of wind speeds and their influence factors on themain path of China winter monsoon[J]. Power System Protection and Control, 2018, 46(19): 57-64.

[17]	Wang Huaizhi, Wang Guibing, Li Gangqiang, et al. Deep belief network based deterministic and probabilistic wind speed forecasting approach[J]. Applied Energy, 2016, 182(8): 80-93.

[18]	Khodayar M, Kaynak O, Khodayar M E. Rough deep neural architecture for short-term wind speed forecasting[J]. IEEE Transactions on Industrial Informatics, 2017, 13(6): 2770-2779.

[19]	杨茂,周宜.计及风电场状态的风电功率超短期预测[J].中国电机工程学报,2019,39(5):1259-1268.
Yang Mao, Zhou Yi. Ultra-short-term prediction of wind power considering wind farm status[J]. Proceedings of the CSEE, 2019, 39(5): 1259-1268.

[20]	薛禹胜,陈宁,王树民,等.关于利用空间相关性预测风速的评述[J].电力系统自动化,2017,41(10):161-169.
Xue Yusheng,Chen Ning,Wang Shumin,et al．Review on wind speed prediction based on spatial correlation[J].Automation of Electric Power Systems,2017,41(10):161-169.

[21]	陈宁,薛禹胜,丁杰,等.利用空间相关性的超短期风速预测[J]. 电力系统自动化,2017, 41(12):124-130.
Chen Ning, Xue Yusheng, Ding Jie, et al. Ultra-short term wind speed prediction using spatial correlation[J]. Automation of Electric Power System, 2017, 41(12): 124-130.

[22]	Chen Niya, Qian Zheng, Nabney I T, et al. Wind power forecasts using gaussian processes and numerical weather prediction[J]. IEEE Transactions on Power Systems, 2014, 29(2):656-665.

[23]	Wu Wenzu, Chen Kunjin, Qiao Ying, et al. Probabilistic short-term wind power forecasting based on deep neural networks[C]//2016 International Conference on Probabilistic Methods Applied to Power Systems,Beijing, China, 2016: 1-8.

[24]	张文,冯洋,刘群.基于简单循环单元的深层神经网络机器翻译模型[J]. 中文信息学报,2018, 32(10):36-44.
Zhang Wen, Feng Yang, Liu Qun. Deep neural machine translation model based on simple recurrent units[J]. Journal of Chinese Information Processing, 2018, 32(10): 36-44．

[25]	Tao Lei, Zhang Yu. Training RNNs as fast as CNNs[J].arXiv preprint, 2017.

[26]	Lecun Y, Bottou L, Bengio Y, et al. Gradient-based learning applied to document recognition[J]. Proceedings of the IEEE, 1998, 86(11): 2278-2324.

[27]	Liu Tongtong, Wang Rubing, Chen Jikang, et al.Fine-grained classification of product images based on convolutional neural networks[J]. Advances in Molecular Imaging, 2018, 8: 69-87.

[28]	He Kaiming, Zhang Xiangyu, Ren Shaoqing, et al. Spatial pyramid pooling in deep convolutional networks for visual recognition[J]. IEEE Transactions on Pattern Analysis & Machine Intelligence, 2014, 37(9): 1904-1916.

[29]	Saratha S, Tajuddin W A W A. Logic learning in hopfield networks[J]. Modern Applied Science, 2008, 2(3): 57-63.

[30]	Jin Hui, Yang Libin, Gan Jiatian, et al. Risk assessment of grid frequency deviation related to correlation considering wind speed and wind direction in a wind farm[C]//2018 2nd IEEE Conference on Energy Internet and Energy System Integration, Beijing, China, 2018: 1-5.

作者简介

XX男，1995年生，硕士研究生，研究方向人工智能技术在电力系统中的应用。

E-mail：wangchenedu@stu.xjtu.edu.cn

XX男，1983年生，副教授，博士生导师，研究方向为新能源发电与智能微电网、电机先进控制、预测控制与智能控制等。

E-mail：koupeng@mail.xjtu.edu.cn（通信作者）

（编辑XX）

Wind Speed Forecasts of Multiple Wind Turbines in a Wind Farm Based on Integration Model Built by Convolutional Neural Network and Simple Recurrent Unit

XXXX

（School of Electrical Engineering  Xi’an Jiaotong University  Xi’an  710049  China）

Abstract In real-world wind farms, multiple wind turbines are distributed in different spatial locations, and their respective local wind speeds are significantly different. However, traditional wind speed forecast methods generally ignored these differences and, hence, only giving a single wind speed forecasting result at a large spatial scale. This was insufficient to support the coordinated control among multiple wind turbines. Recently, some methods were presented to forecast the local wind speed of multiple wind turbines, but most of them suffered from uninformative features and high computational costs. To address these issues, this paper proposes an integrated model for the multi-wind turbine local wind speed forecasts. By learning the temporal-spatial correlation information from historical wind speed and direction data, it accurately forecasts the local wind speed for multiple wind turbine.

Firstly, a set of 3D input matrices is constructed based on the local wind speed and direction measurements, which are collected from all wind turbines. Secondly, each 3D input matrix in the set is fed into its corresponding CNN, which learns the spatial correlation of wind speed and direction among multiple turbines at the given time stamp. Thirdly, the extracted spatial correlation information is serially fed into the SRU, which learns the temporal correlation among 3D input matrices. This way, the temporal-spatial features of wind speed and direction among multiple turbines are captured. Finally, the temporal-spatial features are fed into the fully connected layer, which yields the local wind speed forecast result for each wind turbine in the wind farm. In this integrated model, the SRU alleviates the gradient disappearance problem, addresses the long-term dependence problem, and greatly reduces the computational cost, thus leading to a low computational cost model.

Simulation results on the actual wind farm data show that, when the prediction horizon is 5 minutes, the average square root error of the proposed model is 0.661m/s for all 114 wind turbines, and the maximum square root error among them is 1.098m/s. As the prediction horizon increases, the performance of the proposed model tends to decrease. Nevertheless, provided that the prediction horizon is less than 50 minutes, the average forecasting error is still less that 2m/s, which is still informative for the coordinated control of multiple turbines. Comparison of different input feature sets show that, in the case of 5 minutes prediction horizon, the averaged square root prediction error is 0.661 m/s with both wind speed and direction information, while the averaged square root prediction error is 0.713 m/s with only wind speed information. Similarly, in the case of 50 minutes prediction horizon, these two figures are 1.816 m/s and 2.072 m/s, respectively. This demonstrates the effectiveness of using temporal-spatial feature. The comparison between SRU and other recurrent neural networks such as long short-term neural network (LSTM) and gated recurrent unit (GRU) shows that, SRU reduces the computational time by about 35% and 50%, respectively. Furthermore, it effectively addresses the gradient disappearance problem during the training process. Finally, to verify the robustness of the proposed model in the presence of input data noise, Gaussian noise are added to the original input data. The results show that the influence of these noise is insignificant.

The following conclusions can be drawn from the simulation analysis:( 1) Compared with LSTM and GRU, the SRU in the proposed model not only significantly reduces the computational cost, but also effectively overcomes the gradient disappearance problem. Therefore, it is appropriate to apply SRU to the multi-turbine local wind speed forecast. (2) The proposed model only needs historical wind speed and direction measurements. In this sense, it is more practical than physical-based forecasting models, which depends on atmospheric motion equation. (3) The proposed model extracts informative features by firstly learning spatial correlations using CNN and subsequently learning temporal correlations usingSRUs. Compared with traditional deep learning models, it formulates wind data as RGB images.

keywords：Wind speed forecast of multiple wind turbines, convolutional neural network, simple recurrent unit, improved recurrent neural network, spatio-temporal correlation